Portage County Building Department                                      Charles Corcoran, Director

449 S. Meridian St.                                                                     CBO, RA, MPE, RBO

Ravenna, Ohio 44266                                                                         330-297-3534

330-297-3530 / 330-297-3896 fax                                                                                 ccorcoran@portageco.com

www.co.portage.oh.us/buildinginspections.htm

WORK EXEMPT

from

APPROVALS – PERMITS – INSPECTIONS

The 2013 Residential Code of Ohio, Section 102.10, indicates that certain work is exempt from approval, as follows:

BUILDING

- One-story detached accessory structures provided the floor area does not exceed 200 square feet, and playground structures.

- Fences not over 6-feet high.

- Retaining walls that are not over 4-feet in height, measured from the bottom of the footing to the top of the wall.

- Water tanks supported directly on-grade, if the capacity does not exceed 5000 gallons and the ratio of height to width does not exceed 2:1.

- Sidewalks and driveways not more than 30 inches above adjacent grade and not over any basement or story below and which are not apart of an accessible route.

- Painting, papering, tiling, carpeting, cabinets, counter-tops and similar type work.

- Swings and other playground equipment, accessory to a one, two or three family dwelling.

- Window awnings supported by an exterior wall which do not protect more than 54 inches from the exterior wall and do not require additional support.

- Decks not exceeding 200 square feet in area that are not more than 30 inches above grade at any point, are not attached to the dwelling, and do not serve an exit door.

- Replacement of siding, roof shingles and direct replacement (same size) windows and doors.

ELECTRICAL

- Listed cord and plug connected temporary decorative lighting.

- Reinstallation of plug receptacles and switches.

- Replacement of branch circuit overcurrent devices of the required capacity and type in the same location.

- Electrical wiring, devices, appliances, apparatus, or equipment operating at less than 25 volts and not capable of supplying more than 50 watts of energy.

- Repairs and Maintenance: Approval shall not be required for minor repair work, including replacements of lamps or the connection of approved portable electrical equipment to approved permanently installed receptacles.

GAS

- Portable heating, cooking or clothes drying appliances.

- Replacement of any minor part that does not alter approval of equipment or make such equipment unsafe.

- Portable fuel cell appliances that are not connected to a fixed piping system and are not interconnected to a power grid.

- Gas distribution piping owned and maintained by public or municipal utilities and located upstream of the point of delivery.

(continued)

Page 2

Work Exempt from Approval

MECHANICAL

- Portable heating appliances.

- Portable ventilation equipment.

- Portable cooling units.

- Steam, hot or chilled water piping within any heating or cooling equipment regulated by this code.

- Replacement of any minor part that does not alter approval of equipment or make such equipment unsafe.

- Portable evaporative cooler.

- Self-contained refrigeration systems containing ten pounds or less of refrigerant or that are actuated by motors of 1-horsepower or less.

- Portable fuel cell appliances that are not connected to a fixed piping system and are not interconnected to a power grid.

- Heating and cooling distribution piping owned and maintained by public or municipal utilities.

PLUMBING (under the jurisdiction of the Portage County Health Dept)

- The repair of leaks in drains, water, soil, waste or vent pipe; provided, however that if any concealed trap, drain-pipe, water, soil, waste or vent pipe becomes defective and it becomes necessary to remove and replace the same with new material, such work shall be considered as new work and an approval shall be obtained and inspection made as provided in this code.

- The clearances of stoppages or the repair of leaks in pipes, valves or fixtures, and the removal and reinstallation of water closets, provided such repairs do not involve or require the replacement or rearrangement of valves, pipes or fixtures.

EMERGENCY REPAIRS per 102.10.1

- Where equipment replacements and repairs must be performed in an emergency situation, an application for approval shall be submitted within the next working business day to the building official.

MINOR REPAIRS per 102.10.2

- Minor repairs may be made to structures without application or notice to the building official. Such repairs shall not include the cutting away of any wall, partition or potion thereof, the removal or cutting of any structural beam or load bearing support, or the removal or change of any required means of egress, or rearrangement of parts of a structure affecting the egress requirements; nor shall ordinary repairs include addition to, alteration of, replacement or relocation of any standpipe, water supply, sewer, drainage, drain leader, gas, soil, waste, vent or similar piping, electric wiring or mechanical or other work affecting public health or general safety.

SWIMMING POOLS

- The Portage County Building Department policy does not require a Building Permit for above-ground or in-ground residential swimming pools. However, an electrical permit is required.

January 2013